## Bus Data
Bus Name | Bus Region | Bus Type | Demand Trace Weightage | Power Factor | Prosumer Demand (%) | Rooftop PV Capacity (MW) | Feedin Price Ratio | Maximum Battery Capacity (MWh) | Minimum Battery Capacity (MWh) | Maximum Charge Rate (MW/h) | Maximum Discharge Rate (MW/h) | Battery Efficiency (%) | Minimum Voltage (pu) | Maximum Voltage (pu) | Base_kV | Demand Trace Name | Wind Trace Name | PV Trace Name | CST Trace Name | Rooftop PV Trace
N_101 | NSW | 0 | 0 | 0.9 | 20 | 0 | 0 | 0 | 0 | 0 | 0 | 97 | 0.95 | 1.05 | 330 | NSW | SWNSW | SWNSW | SWNSW | SWNSW
N_102 | NSW | 0 | 0.045 | 0.9 | 20 | 166.5 | 0 | 333 | 0 | 83.25 | 109.89 | 97 | 0.95 | 1.05 | 330 | NSW | SWNSW | SWNSW | SWNSW | SWNSW
N_201 | NSW | 0 | 0 | 0.9 | 20 | 0 | 0 | 0 | 0 | 0 | 0 | 97 | 0.95 | 1.05 | 330 | NSW | NNS | NNS | NNS | NNS
N_202 | NSW | 0 | 0 | 0.9 | 20 | 0 | 0 | 0 | 0 | 0 | 0 | 97 | 0.95 | 1.05 | 330 | NSW | CAN | CAN | CAN | CAN
N_203 | NSW | 0 | 0 | 0.9 | 20 | 0 | 0 | 0 | 0 | 0 | 0 | 97 | 0.95 | 1.05 | 330 | NSW | NCEN | NCEN | NCEN | NCEN
N_204 | NSW | 0 | 0 | 0.9 | 20 | 0 | 0 | 0 | 0 | 0 | 0 | 98 | 0.95 | 1.05 | 330 | NSW | SWNSW | SWNSW | SWNSW | SWNSW
N_205 | NSW | 0 | 0.039 | 0.9 | 20 | 144.3 | 0 | 288.6 | 0 | 72.15 | 95.238 | 98 | 0.95 | 1.05 | 330 | NSW | NNS | NNS | NNS | NNS
N_206 | NSW | 0 | 0.013 | 0.9 | 20 | 48.1 | 0 | 96.2 | 0 | 24.05 | 31.746 | 96 | 0.95 | 1.05 | 330 | NSW | NNS | NNS | NNS | NNS
N_207 | NSW | 0 | 0.188 | 0.9 | 20 | 695.6 | 0 | 1391.2 | 0 | 347.8 | 459.096 | 98 | 0.95 | 1.05 | 330 | NSW | NCEN | NCEN | NCEN | NCEN
N_208 | NSW | 0 | 0.021 | 0.9 | 20 | 77.7 | 0 | 155.4 | 0 | 38.85 | 51.282 | 97 | 0.95 | 1.05 | 330 | NSW | NCEN | NCEN | NCEN | NCEN
N_209 | NSW | 0 | 0 | 0.9 | 20 | 0 | 0 | 0 | 0 | 0 | 0 | 98 | 0.95 | 1.05 | 330 | NSW | CAN | CAN | CAN | CAN
N_210 | NSW | 0 | 0 | 0.9 | 20 | 0 | 0 | 0 | 0 | 0 | 0 | 97 | 0.95 | 1.05 | 330 | NSW | CAN | CAN | CAN | CAN
N_211 | NSW | 0 | 0.17 | 0.9 | 20 | 629 | 0 | 1258 | 0 | 314.5 | 415.14 | 98 | 0.95 | 1.05 | 330 | NSW | NCEN | NCEN | NCEN | NCEN
N_212 | NSW | 0 | 0.166 | 0.9 | 20 | 614.2 | 0 | 1228.4 | 0 | 307.1 | 405.372 | 96 | 0.95 | 1.05 | 330 | NSW | CAN | CAN | CAN | CAN
N_213 | NSW | 0 | 0 | 0.9 | 20 | 0 | 0 | 0 | 0 | 0 | 0 | 96 | 0.95 | 1.05 | 330 | NSW | CAN | CAN | CAN | CAN
N_214 | NSW | 0 | 0 | 0.9 | 20 | 0 | 0 | 0 | 0 | 0 | 0 | 96 | 0.95 | 1.05 | 330 | NSW | CAN | CAN | CAN | CAN
N_215 | NSW | 0 | 0.048 | 0.9 | 20 | 177.6 | 0 | 355.2 | 0 | 88.8 | 117.216 | 96 | 0.95 | 1.05 | 330 | NSW | SWNSW | SWNSW | SWNSW | SWNSW
N_216 | NSW | 0 | 0.184 | 0.9 | 20 | 680.8 | 0 | 1361.6 | 0 | 340.4 | 449.328 | 98 | 0.95 | 1.05 | 330 | NSW | CAN | CAN | CAN | CAN
N_217 | NSW | 0 | 0.126 | 0.9 | 20 | 466.2 | 0 | 932.4 | 0 | 233.1 | 307.692 | 98 | 0.95 | 1.05 | 330 | NSW | SWNSW | SWNSW | SWNSW | SWNSW
N_301 | VIC | 0 | 0 | 0.9 | 20 | 0 | 0 | 0 | 0 | 0 | 0 | 98 | 0.95 | 1.05 | 330 | VIC | MEL | MEL | MEL | MEL
N_302 | VIC | 0 | 0 | 0.9 | 20 | 0 | 0 | 0 | 0 | 0 | 0 | 97 | 0.95 | 1.05 | 330 | VIC | LV | LV | LV | LV
N_303 | VIC | 0 | 0 | 0.9 | 20 | 0 | 0 | 0 | 0 | 0 | 0 | 98 | 0.95 | 1.05 | 330 | VIC | MEL | MEL | MEL | MEL
N_304 | VIC | 0 | 0 | 0.9 | 20 | 0 | 0 | 0 | 0 | 0 | 0 | 96 | 0.95 | 1.05 | 330 | VIC | MEL | MEL | MEL | MEL
N_305 | VIC | 0 | 0 | 0.9 | 20 | 0 | 0 | 0 | 0 | 0 | 0 | 98 | 0.95 | 1.05 | 330 | VIC | MEL | MEL | MEL | MEL
N_306 | VIC | 0 | 0.2236 | 0.9 | 20 | 827.32 | 0 | 1654.64 | 0 | 413.66 | 546.0312 | 98 | 0.95 | 1.05 | 330 | VIC | MEL | MEL | MEL | MEL
N_307 | VIC | 0 | 0.1182 | 0.9 | 20 | 437.34 | 0 | 874.68 | 0 | 218.67 | 288.6444 | 97 | 0.95 | 1.05 | 330 | VIC | MEL | MEL | MEL | MEL
N_308 | VIC | 0 | 0.1191 | 0.9 | 20 | 440.67 | 0 | 881.34 | 0 | 220.335 | 290.8422 | 98 | 0.95 | 1.05 | 330 | VIC | MEL | MEL | MEL | MEL
N_309 | VIC | 0 | 0.0355 | 0.9 | 20 | 131.35 | 0 | 262.7 | 0 | 65.675 | 86.691 | 96 | 0.95 | 1.05 | 330 | VIC | NVIC | NVIC | NVIC | NVIC
N_310 | VIC | 0 | 0 | 0.9 | 20 | 0 | 0 | 0 | 0 | 0 | 0 | 96 | 0.95 | 1.05 | 330 | VIC | NVIC | NVIC | NVIC | NVIC
N_311 | VIC | 0 | 0 | 0.9 | 20 | 0 | 0 | 0 | 0 | 0 | 0 | 96 | 0.95 | 1.05 | 330 | VIC | NVIC | NVIC | NVIC | NVIC
N_312 | VIC | 0 | 0.0209 | 0.9 | 20 | 77.33 | 0 | 154.66 | 0 | 38.665 | 51.0378 | 96 | 0.95 | 1.05 | 330 | VIC | LV | LV | LV | LV
N_313 | VIC | 0 | 0.4373 | 0.9 | 20 | 1618.01 | 0 | 3236.02 | 0 | 809.005 | 1067.8866 | 96 | 0.95 | 1.05 | 330 | VIC | LV | LV | LV | LV
N_314 | VIC | 0 | 0.0455 | 0.9 | 20 | 168.35 | 0 | 336.7 | 0 | 84.175 | 111.111 | 96 | 0.95 | 1.05 | 330 | VIC | LV | LV | LV | LV
N_315 | VIC | 0 | 0 | 0.9 | 20 | 0 | 0 | 0 | 0 | 0 | 0 | 97 | 0.95 | 1.05 | 330 | VIC | MEL | MEL | MEL | MEL
N_401 | QLD | 0 | 0 | 0.9 | 20 | 0 | 0 | 0 | 0 | 0 | 0 | 98 | 0.95 | 1.05 | 330 | QLD | SWQ | SWQ | SWQ | SWQ
N_402 | QLD | 0 | 0 | 0.9 | 20 | 0 | 0 | 0 | 0 | 0 | 0 | 97 | 0.95 | 1.05 | 330 | QLD | CQ | CQ | CQ | CQ
N_403 | QLD | 0 | 0 | 0.9 | 20 | 0 | 0 | 0 | 0 | 0 | 0 | 96 | 0.95 | 1.05 | 330 | QLD | NQ | NQ | NQ | NQ
N_404 | QLD | 0 | 0 | 0.9 | 20 | 0 | 0 | 0 | 0 | 0 | 0 | 96 | 0.95 | 1.05 | 330 | QLD | CQ | CQ | CQ | CQ
N_405 | QLD | 0 | 0.22 | 0.9 | 20 | 814 | 0 | 1628 | 0 | 407 | 537.24 | 97 | 0.95 | 1.05 | 330 | QLD | CQ | CQ | CQ | CQ
N_406 | QLD | 0 | 0.1644 | 0.9 | 20 | 608.28 | 0 | 1216.56 | 0 | 304.14 | 401.4648 | 96 | 0.95 | 1.05 | 330 | QLD | NQ | NQ | NQ | NQ
N_407 | QLD | 0 | 0 | 0.9 | 20 | 0 | 0 | 0 | 0 | 0 | 0 | 98 | 0.95 | 1.05 | 330 | QLD | NQ | NQ | NQ | NQ
N_408 | QLD | 0 | 0.0333 | 0.9 | 20 | 123.21 | 0 | 246.42 | 0 | 61.605 | 81.3186 | 96 | 0.95 | 1.05 | 330 | QLD | CQ | CQ | CQ | CQ
N_409 | QLD | 0 | 0.0578 | 0.9 | 20 | 213.86 | 0 | 427.72 | 0 | 106.93 | 141.1476 | 97 | 0.95 | 1.05 | 330 | QLD | CQ | CQ | CQ | CQ
N_410 | QLD | 0 | 0.1178 | 0.9 | 20 | 435.86 | 0 | 871.72 | 0 | 217.93 | 287.6676 | 97 | 0.95 | 1.05 | 330 | QLD | SWQ | SWQ | SWQ | SWQ
N_411 | QLD | 0 | 0.1278 | 0.9 | 20 | 472.86 | 0 | 945.72 | 0 | 236.43 | 312.0876 | 96 | 0.95 | 1.05 | 330 | QLD | SEQ | SEQ | SEQ | SEQ
N_412 | QLD | 0 | 0.2789 | 0.9 | 20 | 1031.93 | 0 | 2063.86 | 0 | 515.965 | 681.0738 | 98 | 0.95 | 1.05 | 330 | QLD | SEQ | SEQ | SEQ | SEQ
N_413 | QLD | 0 | 0 | 0.9 | 20 | 0 | 0 | 0 | 0 | 0 | 0 | 97 | 0.95 | 1.05 | 330 | QLD | SWQ | SWQ | SWQ | SWQ
N_414 | QLD | 0 | 0 | 0.9 | 20 | 0 | 0 | 0 | 0 | 0 | 0 | 97 | 0.95 | 1.05 | 330 | QLD | SWQ | SWQ | SWQ | SWQ
N_415 | QLD | 0 | 0 | 0.9 | 20 | 0 | 0 | 0 | 0 | 0 | 0 | 98 | 0.95 | 1.05 | 330 | QLD | SWQ | SWQ | SWQ | SWQ
N_416 | QLD | 0 | 0 | 0.9 | 20 | 0 | 0 | 0 | 0 | 0 | 0 | 96 | 0.95 | 1.05 | 330 | QLD | SWQ | SWQ | SWQ | SWQ
N_501 | SA | 0 | 0 | 0.9 | 20 | 0 | 0 | 0 | 0 | 0 | 0 | 97 | 0.95 | 1.05 | 330 | SA | NSA | NSA | NSA | NSA
N_502 | SA | 0 | 0 | 0.9 | 20 | 0 | 0 | 0 | 0 | 0 | 0 | 98 | 0.95 | 1.05 | 330 | SA | ADE | ADE | ADE | ADE
N_503 | SA | 0 | 0 | 0.9 | 20 | 0 | 0 | 0 | 0 | 0 | 0 | 97 | 0.95 | 1.05 | 330 | SA | SESA | SESA | SESA | SESA
N_504 | SA | 0 | 0.1304 | 0.9 | 20 | 482.48 | 0 | 964.96 | 0 | 241.24 | 318.4368 | 97 | 0.95 | 1.05 | 330 | SA | NSA | NSA | NSA | NSA
N_505 | SA | 0 | 0 | 0.9 | 20 | 0 | 0 | 0 | 0 | 0 | 0 | 97 | 0.95 | 1.05 | 330 | SA | ADE | ADE | ADE | ADE
N_506 | SA | 0 | 0 | 0.9 | 20 | 0 | 0 | 0 | 0 | 0 | 0 | 97 | 0.95 | 1.05 | 330 | SA | SESA | SESA | SESA | SESA
N_507 | SA | 0 | 0.4348 | 0.9 | 20 | 1608.76 | 0 | 3217.52 | 0 | 804.38 | 1061.7816 | 98 | 0.95 | 1.05 | 330 | SA | ADE | ADE | ADE | ADE
N_508 | SA | 0 | 0.3478 | 0.9 | 20 | 1286.86 | 0 | 2573.72 | 0 | 643.43 | 849.3276 | 97 | 0.95 | 1.05 | 330 | SA | ADE | ADE | ADE | ADE
N_509 | SA | 0 | 0.087 | 0.9 | 20 | 321.9 | 0 | 643.8 | 0 | 160.95 | 212.454 | 98 | 0.95 | 1.05 | 330 | SA | SESA | SESA | SESA | SESA